## Sheet1
WATER QUALITY MONITORING RESULTS JUNE 2017 - JUNE 2018
SLY'S QUARRY
JACKYBULBIN RD , MORORO |  |  |  |  | **pond E is EPL point 1**
DATE | WHO | WEATHER | RAIN PAST | RAIN PAST | POINT | DISCHARGING? | TSS(mgl) | PH | conduct | OIL | TREATED? | DISCHARGED?
|  |  | 24 HRS | 5 DAYS
3.7.17 | mark n | fine | 0 | 28 | pond e | no | 13 | 7.2 | n/a | no | no | yes
20.7.17 | markn | fine | 0 | 5 | pond e | no | 24 | 7.9 | n/a | no | no | yes
1.9.17 | mark n | fine | 0 | 0 | gw1 | n/a | n/a | 5.8 | 153 | n/a | n/a | n/a | quarterly test
1.9.17 | mark n | fine | 0 | 0 | gw2 | n/a | n/a | 5.7 | 256 | n/a | n/a | n/a | quarterly test
1.9.17 | mark n | fine | 0 | 0 | gw3 | n/a | n/a | 6.1 | 165 | n/a | n/a | n/a | quarterly test
2017-10-03 | mark n | raining | 18 | 18 | wq1 | n/a | 3 | 6.5 | n/a | no | n/a | n/a | surface water >10mm | stagnant
2017-10-03 | mark n | raining | 18 | 18 | wq2 | n/a | 18 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | stagnant
2017-10-16 | mark n | raining | 87 | 87 | wq1 | n/a | 5 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
2017-10-16 | mark n | raining | 87 | 87 | wq2 | n/a | 5 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
2017-10-17 | mark n | raining | 24 | 111 | wq1 | n/a | 5 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
2017-10-17 | mark n | raining | 24 | 111 | wq2 | n/a | 6 | 5.9 | n/a | no | n/a | n/a | surface water >10mm | running
2017-10-23 | mark n | dry | 24 | 53 | wq1 | n/a | 3 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | running
2017-10-23 | mark n | dry | 24 | 53 | wq2 | n/a | 4 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
2017-11-01 | mark n | dry | 0 | 0 | pond e | no | 9 | 7.8 | n/a | no | n/a | yes
2017-11-06 | mark n | raining | 39 | 39 | wq1 | n/a | 10 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | running
2017-11-06 | mark n | raining | 39 | 39 | wq2 | n/a | 5 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | running
2017-11-07 | mark n | raining | 19 | 58 | wq1 | n/a | 10 | 6.6 | n/a | no | n/a | n/a | surface water >10mm | running
2017-11-07 | mark n | raining | 19 | 58 | wq2 | n/a | 17 | 6.5 | n/a | no | n/a | n/a | surface water >10mm | running
2017-11-21 | markn | raining | 10.5 | 25.5 | pond e | no | 20 | 7.7 | n/a | no | no | yes
2017-11-21 | markn | raining | 10.5 | 25.5 | wq1 | n/a | 5 | 6.3 | n/a | no | n/a | n/a | surface water >10mm | running
2017-11-21 | markn | raining | 10.5 | 25.5 | wq2 | n/a | 5 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
2017-11-30 | markn | raining | 18 | 18 | wq1 | n/a | 7 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
2017-11-30 | markn | raining | 18 | 18 | wq2 | n/a | 6 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | running
30.11.17 | mark n | raining | 18 | 18 | gw1 | n/a | n/a | 5.7 | 209 | n/a | n/a | n/a | quarterly test
30.11.17 | mark n | raining | 18 | 18 | gw2 | n/a | n/a | 5.8 | 298 | n/a | n/a | n/a | quarterly test
30.11.17 | mark n | raining | 18 | 18 | gw3 | n/a | n/a | 5.1 | 250 | n/a | n/a | n/a | quarterly test
1.12.17 | mark n | raining | 10 | 10 | wq1 | n/a | 12 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | running
1.12.17 | mark n | raining | 10 | 10 | wq2 | n/a | 9 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
2.12.17 | mark n | raining | 26 | 36 | wq1 | n/a | 7 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
2.12.17 | mark n | raining | 26 | 36 | wq2 | n/a | 7 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
6.12.17 | mark n | raining | 37 | 45.5 | pond e | n/a | 24 | 6.5 | n/a | no | n/a | yes
6.12.17 | mark n | raining | 37 | 45.5 | wq1 | n/a | 3 | 6.8 | n/a | no | n/a | n/a | surface water >10mm | running
6.12.17 | mark n | raining | 37 | 45.5 | wq2 | n/a | 13 | 6.3 | n/a | no | n/a | n/a | surface water >10mm | running
21.12.17 | mark n | raining | 18.6 | 20.4 | wq1 | n/a | 9 | 6.13 | n/a | no | n/a | n/a | surface water >10mm | running
21.12.17 | mark n | raining | 18.6 | 20.4 | wq2 | n/a | 6 | 6.14 | n/a | no | n/a | n/a | surface water >10mm | running
25.12.17 | mark n | raining | 35.4 | 54.6 | wq1 | n/a | 11 | 6.09 | n/a | no | n/a | n/a | surface water >10mm | running
25.12.17 | mark n | raining | 35.4 | 54.6 | wq2 | n/a | 15 | 6.04 | n/a | no | n/a | n/a | surface water >10mm | running
26.12.17 | mark n | raining | 13.8 | 49.8 | wq1 | n/a | 9 | 6.22 | n/a | no | n/a | n/a | surface water >10mm | running
26.12.17 | mark n | raining | 13.8 | 49.8 | wq2 | n/a | 10 | 6.07 | n/a | no | n/a | n/a | surface water >10mm | running
3.1.18 | mark n | raining | 19.5 | 27 | pond e | no | 9 | 6.23 | n/a | no | no | no
3.1.18 | mark n | raining | 19.5 | 27 | wq1 | n/a | 4 | 6.15 | n/a | no | n/a | n/a | surface water >10mm | running
3.1.18 | mark n | raining | 19.5 | 27 | wq2 | n/a | 3 | 6.43 | n/a | no | n/a | n/a | surface water >10mm | running
12.1.18 | mark n | fine | 0 | 2 | pond e | no | 47 | 7.53 | n/a | no | no | yes
22.1.18 | mark n | raining | 20.1 | 26.5 | wq1 | n/a | 8 | 6.13 | n/a | no | n/a | n/a | surface water >10mm | running
22.1.18 | mark n | raining | 20.1 | 26.5 | wq2 | n/a | 11 | 6.25 | n/a | no | n/a | n/a | surface water >10mm | running
23.1.18 | mark n | raining | 27.6 | 51.3 | wq1 | n/a | 17 | 6.19 | n/a | no | n/a | n/a | surface water >10mm | running
23.1.18 | mark n | raining | 27.6 | 51.3 | wq2 | n/a | 22 | 6.29 | n/a | no | n/a | n/a | surface water >10mm | running
29.1.18 | mark n | raining | 14.7 | 60.9 | pond e | no | 7 | 8.12 | n/a | no | no | yes
29.1.18 | mark n | raining | 14.7 | 60.9 | wq1 | n/a | 2 | 6.47 | n/a | no | n/a | n/a | surface water >10mm | running
29.1.18 | mark n | raining | 14.7 | 60.9 | wq2 | n/a | 26 | 6.14 | n/a | no | n/a | n/a | surface water >10mm | running
3.2.18 | mark n | raining | 21 | 56 | wq1 | n/a | 4 | 6.59 | n/a | no | n/a | n/a | surface water >10mm | running
3.2.18 | mark n | raining | 21 | 56 | wq2 | n/a | 8 | 6.49 | n/a | no | n/a | n/a | surface water >10mm | running
12.2.18 | mark n | raining | 18.6 | 20.4 | wq1 | n/a | 2 | 6.52 | n/a | no | n/a | n/a | surface water >10mm | running
12.2.18 | mark n | raining | 18.6 | 20.4 | wq2 | n/a | 24 | 6.18 | n/a | no | n/a | n/a | surface water >10mm | running
19.2.18 | mark n | fine | 0 | 0 | gw1 | n/a | n/a | 5.61 | 136 | no | n/a | n/a | quarterly test
19.2.18 | mark n | fine | 0 | 0 | gw2 | n/a | n/a | 5.36 | 235 | no | n/a | n/a | quarterly test
19.2.18 | mark n | fine | 0 | 0 | gw3 | n/a | n/a | 4.8 | 615 | no | n/a | n/a | quarterly test
21.2.18 | mark n | raining | 22.9 | 25 | wq1 | n/a | 6 | 6.38 | n/a | no | n/a | n/a | surface water >10mm | running
21.2.18 | mark n | raining | 22.9 | 25 | wq2 | n/a | 12 | 6.04 | n/a | no | n/a | n/a | surface water >10mm | running
24.2.18 | mark n | raining | 12.9 | 46.5 | wq1 | n/a | 7 | 6.29 | n/a | no | n/a | n/a | surface water >10mm | running
24.2.18 | mark n | raining | 12.9 | 46.5 | wq2 | n/a | 9 | 6.25 | n/a | no | n/a | n/a | surface water >10mm | running
27.2.18 | mark n | raining | 26 | 39 | wq1 | n/a | 7 | 6.39 | n/a | no | n/a | n/a | surface water >10mm | running
27.2.18 | mark n | raining | 26 | 39 | wq2 | n/a | 8 | 6.3 | n/a | no | n/a | n/a | surface water >10mm | running
6.3.18 | mark n | raining | 38.7 | 47.7 | wq1 | n/a | 13 | 6.09 | n/a | no | n/a | n/a | surface water >10mm | running
6.3.18 | mark n | raining | 38.7 | 47.7 | wq2 | n/a | 7 | 6.25 | n/a | no | n/a | n/a | surface water >10mm | running
6.3.18 | mark n | raining | 38.7 | 47.7 | pond e | no | 67 | 7.53 | n/a | no | yes | no | to be retested before release
15.3.18 | mark n | raining | 28.5 | 37.5 | pond e | no | 12 | 7.53 | n/a | no | no | yes | retest tss passed prior to release
7.3.18 | mark n | raining | 10 | 51 | wq1 | n/a | 4 | 6.33 | n/a | no | n/a | n/a | surface water >10mm | running
7.3.18 | mark n | raining | 10 | 51 | wq2 | n/a | 5 | 6.27 | n/a | no | n/a | n/a | surface water >10mm | running
10.3.18 | mark n | raining | 10 | 60 | wq1 | n/a | <1 | 6.16 | n/a | no | n/a | n/a | surface water >10mm | running
10.3.18 | mark n | raining | 10 | 60 | wq2 | n/a | <1 | 6.24 | n/a | no | n/a | n/a | surface water >10mm | running
15.3.18 | mark n | raining | 28.5 | 37.5 | wq1 | n/a | 3 | 6.5 | n/a | no | n/a | n/a | surface water >10mm | running
15.3.18 | mark n | raining | 28.5 | 37.5 | wq2 | n/a | 6 | 6.54 | n/a | no | n/a | n/a | surface water >10mm | running
24.3.18 | mark n | raining | 44 | 48.5 | wq1 | n/a | 3 | 6.23 | n/a | no | n/a | n/a | surface water >10mm | running
24.3.18 | mark n | raining | 44 | 48.5 | wq2 | n/a | 4 | 6.3 | n/a | no | n/a | n/a | surface water >10mm | running
9.4.18 | mark n | raining | 10 | 15 | wq1 | n/a | 7 | 6.17 | n/a | no | n/a | n/a | surface water >10mm | running
9.4.18 | mark n | raining | 10 | 15 | wq2 | n/a | 7 | 6.68 | n/a | no | n/a | n/a | surface water >10mm | running
18.4.18 | mark n | raining | 10 | 10 | wq1 | n/a | 10 | 6.27 | n/a | no | n/a | n/a | surface water >10mm | running
18.4.18 | mark n | raining | 10 | 10 | wq2 | n/a | 4 | 6.29 | n/a | no | n/a | n/a | surface water >10mm | running
23.4.18 | mark n | dry | 29.1 | 36.9 | wq1 | n/a | 4 | 6.33 | n/a | no | n/a | n/a | surface water >10mm | running
23.4.18 | mark n | dry | 29.1 | 36.9 | wq2 | n/a | 4 | 6.38 | n/a | no | n/a | n/a | surface water >10mm | running
23.4.18 | mark n | dry | 29.1 | 36.9 | pond e | no | 18 | 7.89 | n/a | no | no | yes
8.5.18 | mark n | raining | 10 | 10 | wq1 | n/a | 5 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | running
8.5.18 | mark n | raining | 10 | 10 | wq2 | n/a | 16 | 6.21 | n/a | no | n/a | n/a | surface water >10mm | running
8.5.18 | mark n | raining | 10 | 10 | pond e | no | 23 | 7.7 | n/a | no | no | yes
21.5.18 | mark n | dry | 0 | 10 | gw1 | n/a | n/a | 5.48 | 113 | no | n/a | n/a | quarterly test
21.5.18 | mark n | dry | 0 | 10 | gw2 | n/a | n/a | 5.2 | 222 | no | n/a | n/a | quarterly test
21.5.18 | mark n | dry | 0 | 10 | gw3 |  |  | well dry not obtainable |  |  |  |  | quarterly test
30.5.18 | mark n | raining | 52.8 | 52.8 | wq1 | n/a | 4 | 6.56 | n/a | no | n/a | n/a | surface water >10mm | running
30.5.18 | mark n | raining | 52.8 | 52.8 | wq2 | n/a | 6 | 6.48 | n/a | no | n/a | n/a | surface water >10mm | running
15.6.18 | mark n | dry | 0 | 6 | pond e | no | 7 | 7.37 | n/a | no | no | yes
6.7.18 | mark n | dry | 11.5 | 24 | wq1 | n/a | <1 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | running
6.7.18 | mark n | dry | 11.5 | 24 | wq2 | n/a | 4 | 6.3 | n/a | no | n/a | n/a | surface water >10mm | running
8.8.18 | mark n | dry | 0 | 0 | gw1 | n/a | n/a | 5.4 | 106 | no | n/a | n/a | quarterly test
8.8.18 | mark n | dry | 0 | 0 | gw2 | n/a | n/a | 5.3 | 236 | no | n/a | n/a | quarterly test
8.8.18 | mark n | dry | 0 | 0 | gw3 |  |  | well not obtainable |  |  |  |  | quarterly test
27.8.18 | mark n | dry | 19 | 22 | wq1 | n/a | 23 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | running
27.8.18 | mark n | dry | 19 | 22 | wq2 | n/a | 30 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | running
4.9.18 | mark n | raining | 12 | 15 | wq1 | n/a | 2 | 6.7 | n/a | no | n/a | n/a | surface water >10mm | running
4.9.18 | mark n | raining | 12 | 15 | wq2 | n/a | 6 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | running
5.9.18 | mark n | raining | 26 | 41 | wq1 | n/a | 2 | 7 | n/a | no | n/a | n/a | surface water >10mm | running
5.9.18 | mark n | raining | 26 | 41 | wq2 | n/a | 11 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | running
14.9.18 | mark n | dry | 0 | 0 | pond e | no | 21 | 7.7 | n/a | no | no | yes
21.9.18 | mark n | dry | 13 | 13 | wq1 | n/a | 15 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | running
21.9.18 | mark n | dry | 13 | 13 | wq2 | n/a | 11 | 5.8 | n/a | no | n/a | n/a | surface water >10mm | running
11.10.18 | mark n | raining | 11 | 11 | wq1 | n/a | 10 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | runnning
11.10.18 | mark n | raining | 11 | 11 | wq2 | n/a | 31 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | runnning
12.10.18 | mark n | raining | 34.8 | 45.8 | wq1 | n/a | 9 | 6.3 | n/a | no | n/a | n/a | surface water >10mm | running
12.10.18 | mark n | raining | 34.8 | 45.8 | wq2 | n/a | 30 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | running
13.10.18 | mark n | raining | 24 | 69.8 | wq1 | n/a | 8 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
13.10.18 | mark n | raining | 24 | 69.8 | wq2 | n/a | 35 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
15.10.18 | mark n | raining | 57 | 116 | wq1 | n/a | 9 | 6.3 | n/a | no | n/a | n/a | surface water >10mm | running
15.10.18 | mark n | raining | 57 | 116 | wq2 | n/a | 35 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
16.10.18 | mark n | raining | 18.9 | 134.9 | wq1 | n/a | 4 | 7.1 | n/a | no | n/a | n/a | surface water >10mm | running
16.10.18 | mark n | raining | 18.9 | 134.9 | wq2 | n/a | 10 | 6.9 | n/a | no | n/a | n/a | surface water >10mm | running
17.10.18 | mark n | dry | 24 | 147.9 | wq1 | n/a | 3 | 7 | n/a | no | n/a | n/a | surface water >10mm | running
17.10.18 | mark n | dry | 24 | 147.9 | wq2 | n/a | 8 | 6.9 | n/a | no | n/a | n/a | surface water >10mm | running
21.10.18 | mark n | dry | 38.5 | 38.5 | wq1 | n/a | 15 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | running
21.10.18 | mark n | dry | 38.5 | 38.5 | wq2 | n/a | 11 | 5.8 | n/a | no | n/a | n/a | surface water >10mm | running
31.10.18 | mark n | dry | 0.6 | 0.6 | pond e | no | 8 | 7.4 | n/a | no | no | yes
5.11.18 | mark n | dry | 5 | 5 | gw1 | n/a | n/a | 5.9 | 147 | no | n/a | n/a | quarterly test
5.11.18 | mark n | dry | 5 | 5 | gw2 | n/a | n/a | 5.4 | 492 | no | n/a | n/a | quarterly test
5.11.18 | mark n | dry | 5 | 5
19.11.18 | mark n | dry | 17 | 19 | wq1 | n/a | 5 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | stagnant
19.11.18 | mark n | dry | 17 | 19 | wq2 | n/a | 9 | 6 | n/a | no | n/a | n/a | surface water >10mm | stagnant
22.11.18 | mark n | dry | 18 | 37 | wq1 | n/a | 3 | 6.3 | n/a | no | n/a | n/a | surface water >10mm | stagnant
22.11.18 | mark n | dry | 18 | 37 | wq2 | n/a | 2 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | stagnant
28.11.18 | mark n | dry | 12.3 | 12.3 | wq1 | n/a | <1 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | stagnant
28.11.18 | mark n | dry | 12.3 | 12.3 | wq2 | n/a | 13 | 6 | n/a | no | n/a | n/a | surface water >10mm | stagnant
17.12.18 | mark n | dry | 21 | 31.5 | wq1 | n/a | 12 | 6.5 | n/a | no | n/a | n/a | surface water >10mm | stagnant
17.12.18 | mark n | dry | 21 | 31.5 | wq2 | n/a | 13 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | stagnant
21.12.18 | mark n | dry | 31 | 41 | wq1 | n/a | 21 | 6.3 | n/a | no | n/a | n/a | surface water >10mm | stagnant
21.12.18 | mark n | dry | 31 | 41 | wq2 | n/a | <1 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | stagnant
7.1.19 | mark n | dry | 0 | 0 | pond e | no | 17 | 8.1 | n/a | no | no | yes
4.2.19 | mark n | dry | 16.8 | 16.8 | wq1 | n/a | 25 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | stagnant
4.2.19 | mark n | dry | 16.8 | 16.8 | wq2 | n/a | 52 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | stagnant
8.2.19 | mark n | dry | 10.2 | 13.6 | wq1 | n/a | 30 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | stagnant
8.2.19 | mark n | dry | 10.2 | 13.6 | wq2 | n/a | 39 | 5.8 | n/a | no | n/a | n/a | surface water >10mm | stagnant
8.2.19 | mark n | dry | 10.2 | 13.6 | gw1 | n/a | n/a | well dry not obtainable |  |  |  |  | quarterly test
8.2.19 | mark n | dry | 10.2 | 13.6 | gw2 | n/a | n/a | 5.3 | 186 | no | n/a | n/a
8.2.19 | mark n | dry | 10.2 | 13.6 | gw3 | n/a | n/a | well dry not obtainable |  |  |  |  | quarterly test
22.2.19 | mark n | rain | 48.9 | 49.8 | wq1 | n/a | 15 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | stagnant
22.2.19 | mark n | rain | 48.9 | 49.8 | wq2 | n/a | 29 | 5.8 | n/a | no | n/a | n/a | surface water >10mm | stagnant
4.3.19 | mark n | dry | 10 | 22 | wq1 | n/a | 32 | 6.8 | n/a | no | n/a | n/a | surface water >10mm | stagnant
4.3.19 | mark n | dry | 10 | 22 | wq2 | n/a | 6 | 5.9 | n/a | no | n/a | n/a | surface water >10mm | stagnant
8.3.19 | mark n | dry | 27.3 | 27.3 | wq1 | n/a | 9 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | stagnant
8.3.19 | mark n | dry | 27.3 | 27.3 | wq2 | n/a | 9 | 5.3 | n/a | no | n/a | n/a | surface water >10mm | stagnant
15.3.19 | mark n | dry | 0 | 0 | pond e | no | 9 | 7.3 | n/a | no | no | yes
16.3.19 | mark n | rain | 70.1 | 70.1 | wq1 | n/a | 13 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | stagnant
16.3.19 | mark n | rain | 70.1 | 70.1 | wq2 | n/a | 8 | 5.8 | n/a | no | n/a | n/a | surface water >10mm | stagnant
27.03.19 | mark n | rain | 14.4 | 14.4 | wq1 | n/a | 19 | 6.3 | n/a | no | n/a | n/a | surface water >10mm | stagnant
27.03.19 | mark n | rain | 14.4 | 14.4 | wq2 | n/a | 38 | 57 | n/a | no | n/a | n/a | surface water >10mm | stagnant
01.04.19 | mark n | dry | 17.4 | 35.9 | wq1 | n/a | 10 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | stagnant
01.04.19 | mark n | dry | 17.4 | 35.9 | wq2 | n/a | 7 | 5.8 | n/a | no | n/a | n/a | surface water >10mm | stagnant
03.04.19 | mark n | dry | 38.4 | 55.8 | wq1 | n/a | 3 | 5.9 | n/a | no | n/a | n/a | surface water >10mm | stagnant
03.04.19 | mark n | dry | 38.4 | 55.8 | wq2 | n/a | 22 | 5.3 | n/a | no | n/a | n/a | surface water >10mm | stagnant
03.04.19 | mark n | dry | 38.4 | 55.8 | pond e | no | 32 | 6.9 | n/a | no | no | yes
06.04.19 | mark n | dry | 10 | 48.4 | wq1 | n/a | 3 | 6.3 | n/a | no | n/a | n/a | surface water >10mm | stagnant
06.04.19 | mark n | dry | 10 | 48.4 | wq2 | n/a | 11 | 5.6 | n/a | no | n/a | n/a | surface water >10mm | stagnant
13.04.19 | mark n | dry | 13 | 14.2 | wq1 | n/a | 17 | 5.8 | n/a | no | n/a | n/a | surface water >10mm | stagnant
13.04.19 | mark n | dry | 13 | 14.2 | wq2 | n/a | 10 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | stagnant
20.04.19 | mark n | rain | 25.2 | 26.7 | wq1 | n/a | 7 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | stagnant
20.04.19 | mark n | rain | 25.2 | 26.7 | wq2 | n/a | 8 | 5.8 | n/a | no | n/a | n/a | surface water >10mm | stagnant
21.04.19 | mark n | rain | 26.1 | 52.8 | wq1 | n/a | 13 | 5.9 | n/a | no | n/a | n/a | surface water >10mm | stagnant
21.04.19 | mark n | rain | 26.1 | 52.8 | wq2 | n/a | 9 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | stagnant
17.05.19 | mark n | dry | 25 | 28.9 | wq1 | n/a | 18 | 6 | n/a | no | n/a | n/a | surface water >10mm | stagnant
17.05.19 | mark n | dry | 25 | 28.9 | wq2 | n/a | 4 | 5.7 | n/a | no | n/a | n/a | surface water >10mm | stagnant
21.05.19 | mark n | dry | 0 | 1.8 | gw1 | n/a | n/a | well dry not obtainable |  |  |  |  | quarterly test
21.05.19 | mark n | dry | 0 | 1.8 | gw2 | n/a | n/a | 5.4 | 231 | no | n/a | n/a | quarterly test
21.05.19 | mark n | dry | 0 | 1.8 | gw3 | n/a | n/a | well dry not obtainable |  |  |  |  | quarterly test
25.06.19 | mark n | rain | 15.3 | 17.4 | wq1 | n/a | 5 | 6.3 | n/a | no | n/a | n/a | surface water >10mm | stagnant
25.06.19 | mark n | rain | 15.3 | 17.4 | wq2 | n/a | 11 | 5.3 | n/a | no | n/a | n/a | surface water >10mm | stagnant
27.06.19 | mark n | rain | 10.2 | 27.6 | wq1 | n/a | 3 | 5.5 | n/a | no | n/a | n/a | surface water >10mm | stagnant
27.06.19 | mark n | rain | 10.2 | 27.6 | wq2 | n/a | 14 | 6.5 | n/a | no | n/a | n/a | surface water >10mm | stagnant
28.06.19 | markn | rain | 10.2 | 37.8 | wq1 | n/a | 4 | 6.3 | n/a | no | n/a | n/a | surface water >10mm | stagnant
28.06.19 | markn | rain | 10.2 | 37.8 | wq2 | n/a | 19 | 5.3 | n/a | no | n/a | n/a | surface water >10mm | stagnant
DATE | WHO | WEATHER | RAIN PAST | RAIN PAST | POINT | DISCHARGING? | TSS/TURB | PH | conduct | OIL | TREATED? | DISCHARGED?
2019-2020 |  |  | 24 HRS | 5 DAYS
05.07.19 | mark n | rain | 19.2 | 27.6 | wq1 | n/a | 1 | 6.54 | n/a | no | n/a | n/a | surface water >10mm | stagnant
05.07.19 | mark n | rain | 19.2 | 27.6 | wq2 | n/a | 17 | 5.6 | n/a | no | n/a | n/a | surface water >10mm | stagnant
08.07.19 | mark n | rain | 22 | 41.2 | wq1 | n/a | 3 | 6.08 | n/a | no | n/a | n/a | surface water >10mm | stagnant
08.07.19 | mark n | rain | 22 | 41.2 | wq2 | n/a | 6 | 5.53 | n/a | no | n/a | n/a | surface water >10mm | stagnant
08.07.19 | mark n | rain | 22 | 41.2 | pond e | no | 32 | 7.46 | n/a | no | no | yes
01.08.19 | mark n | rain | 16.8 | 26.4 | wq1 | n/a | 40 | 6.38 | n/a | no | n/a | n/a | surface water >10mm | stagnant
01.08.19 | mark n | rain | 16.8 | 26.4 | wq2 | n/a | 42 | 5.62 | n/a | no | n/a | n/a | surface water >10mm | stagnant
08.10.19 | mark n | fine | 0 | 0 | gw1 | n/a | well dry not obtainable | [5 empty] | quarterly test
08.10.19 | mark n | fine | 0 | 0 | gw2 | n/a | n/a | 5.32 | 210.5 | no | n/a | n/a | quarterly test
08.10.19 | mark n | fine | 0 | 0 | gw3 | n/a | well dry not obtainable | [5 empty] | quarterly test
11.1.20 | mark n | fine | 16 | 16 | wq1 | n/a | 6 | 6.12 | n/a | no | n/a | n/a | surface water >10mm | stagnant
11.1.20 | mark n | fine | 16 | 16 | wq2 | n/a | 8 | 5.88 | n/a | no | n/a | n/a | surface water >10mm | stagnant
16.1.20 | mark n | rain | 15 | 19.2 | wq1 | n/a | 11 | 6.22 | n/a | no | n/a | n/a | surface water >10mm | stagnant
16.1.20 | mark n | rain | 15 | 19.2 | wq2 | n/a | 16 | 5.96 | n/a | no | n/a | n/a | surface water >10mm | stagnant
17.1.20 | mark n | rain | 33 | 52.5 | wq1 | n/a | 8 | 6.42 | n/a | no | n/a | n/a | surface water >10mm | running
17.1.20 | mark n | rain | 33 | 52.5 | wq2 | n/a | 14 | 6.02 | n/a | no | n/a | n/a | surface water >10mm | running
18.01.20 | mark n | rain | 77 | 129.5 | wq1 | n/a | 1 | 6.05 | n/a | no | n/a | n/a | surface water >10mm | running
18.01.20 | mark n | rain | 77 | 129.5 | wq2 | n/a | 2 | 6.14 | n/a | no | n/a | n/a | surface water >10mm | running
19.01.20 | mark n | rain | 87 | 216.5 | wq1 | n/a | 1 | 6.17 | n/a | no | n/a | n/a | surface water >10mm | running
19.01.20 | mark n | rain | 87 | 216.5 | wq2 | n/a | 2 | 6.13 | n/a | no | n/a | n/a | surface water >10mm | running
25.1.20 | mark n | fine | 23 | 23 | wq1 | n/a | 6 | 5.98 | n/a | no | n/a | n/a | surface water >10mm | running
25.1.20 | mark n | fine | 23 | 23 | wq2 | n/a | 6 | 5.98 | n/a | no | n/a | n/a | surface water >10mm | running
4.2.20 | mark n | fine | 11.5 | 11.5 | gw1 | wells affected by bushfire waiting on advice | [6 empty] | quarterly test
4.2.20 | mark n | fine | 11.5 | 11.5 | gw2 | wells affected by bushfire waiting on advice | [6 empty] | quarterly test
4.2.20 | mark n | fine | 11.5 | 11.5 | gw3 | wells affected by bushfire waiting on advice | [6 empty] | quarterly test
4.2.20 | mark n | fine | 11.5 | 11.5 | wq1 | n/a | 8 | 6.05 | n/a | no | n/a | n/a | surface water >10mm | running
4.2.20 | mark n | fine | 11.5 | 11.5 | wq2 | n/a | 25 | 6.02 | n/a | no | n/a | n/a | surface water >10mm | running
4.2.20 | mark n | fine | 11.5 | 11.5 | pond e | no | 19 | 7.5 | n/a | no | no | yes
7.2.20 | mark n | rain | 93 | 107.5 | wq1 | n/a | 34 | 5.83 | n/a | no | n/a | n/a | surface water >10mm | running
7.2.20 | mark n | rain | 93 | 107.5 | wq2 | n/a | 67 | 6.04 | n/a | no | n/a | n/a | surface water >10mm | running
8.2.20 | mark n | rain | 17 | 124.5 | wq1 | n/a | 2 | 5.94 | n/a | no | n/a | n/a | surface water >10mm | running
8.2.20 | mark n | rain | 17 | 124.5 | wq2 | n/a | 12 | 6.04 | n/a | no | n/a | n/a | surface water >10mm | running
9.2.20 | mark n | rain | 200 | 313 | wq1 | n/a | 2 | 5.99 | n/a | no | n/a | n/a | surface water >10mm | running
9.2.20 | mark n | rain | 200 | 313 | wq2 | n/a | 12 | 6.07 | n/a | no | n/a | n/a | surface water >10mm | running
11.2.20 | mark n | rain | 14 | 129 | wq1 | n/a | 2 | 6.01 | n/a | no | n/a | n/a | surface water >10mm | running
11.2.20 | mark n | rain | 14 | 129 | wq2 | n/a | 8 | 6.13 | n/a | no | n/a | n/a | surface water >10mm | running
13.2.20 | mark n | rain | 55 | 279 | wq1 | n/a | 24 | 5.92 | n/a | no | n/a | n/a | surface water >10mm | running
13.2.20 | mark n | rain | 55 | 279 | wq2 | n/a | 55 | 6.08 | n/a | no | n/a | n/a | surface water >10mm | running
14.2.20 | mark n | rain | 34 | 133 | wq1 | n/a | 3 | 6.06 | n/a | no | n/a | n/a | surface water >10mm | running
14.2.20 | mark n | rain | 34 | 133 | wq2 | n/a | 11 | 5.96 | n/a | no | n/a | n/a | surface water >10mm | running
18.2.20 | mark n | rain | 64 | 99 | wq1 | n/a | 12 | 5.92 | n/a | no | n/a | n/a | surface water >10mm | running
18.2.20 | mark n | rain | 64 | 99 | wq2 | n/a | 27 | 6 | n/a | no | n/a | n/a | surface water >10mm | running
22.2.20 | mark n | fine | 14.5 | 78.5 | wq1 | n/a | 4 | 6.13 | n/a | no | n/a | n/a | surface water >10mm | running
22.2.20 | mark n | fine | 14.5 | 78.5 | wq2 | n/a | 9 | 6.27 | n/a | no | n/a | n/a | surface water >10mm | running
24.2.20 | mark n | fine | 19 | 33.5 | wq1 | n/a | 1 | 6.21 | n/a | no | n/a | n/a | surface water >10mm | running
24.2.20 | mark n | fine | 19 | 33.5 | wq2 | n/a | 8 | 6.28 | n/a | no | n/a | n/a | surface water >10mm | running
25.2.20 | mark n | rain | 19 | 52.5 | wq1 | n/a | 7 | 6.14 | n/a | no | n/a | n/a | surface water >10mm | running
25.2.20 | mark n | rain | 19 | 52.5 | wq2 | n/a | 15 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
27.2.20 | mark n | rain | 21 | 41.5 | wq1 | n/a | 2 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | running
27.2.20 | mark n | rain | 21 | 41.5 | wq2 | n/a | 7 | 6.22 | n/a | no | n/a | n/a | surface water >10mm | running
28.2.20 | mark n | fine | 38 | 79.5 | wq1 | n/a | 3 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | running
28.2.20 | mark n | fine | 38 | 79.5 | wq2 | n/a | 6 | 6.19 | n/a | no | n/a | n/a | surface water >10mm | running
8.3.20 | mark n | rain | 36 | 44.5 | wq1 | n/a | 5 | 6.06 | n/a | no | n/a | n/a | surface water >10mm | running
8.3.20 | mark n | rain | 36 | 44.5 | wq2 | n/a | 7 | 6.22 | n/a | no | n/a | n/a | surface water >10mm | running
16.3.20 | mark n | fine | 20 | 36 | wq1 | n/a | 12 | 6.08 | n/a | no | n/a | n/a | surface water >10mm | running
16.3.20 | mark n | fine | 20 | 36 | wq2 | n/a | 9 | 6.23 | n/a | no | n/a | n/a | surface water >10mm | running
31.3.20 | mark n | fine | 17 | 22.5 | wq1 | n/a | 6 | 6.22 | n/a | no | n/a | n/a | surface water >10mm | running
31.3.20 | mark n | fine | 17 | 22.5 | wq2 | n/a | 11 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | running
31.3.20 | mark n | fine | 17 | 22.5 | pond e | no | 22 | 8.03 | n/a | no | no | yes
8.4.20 | mark n | fine | 3 | 5 | gw1 | n/a | n/a | 5.8 | 170 | no | n/a | n/a | quarterly test
8.4.20 | mark n | fine | 3 | 5 | gw2 | n/a | n/a | 4.65 | 454 | no | n/a | n/a | quarterly test
8.4.20 | mark n | fine | 3 | 5 | gw3 | n/a | n/a | 5.46 | 101 | no | n/a | n/a | quarterly test
9.4.20 | mark n | rain | 18 | 21 | wq1 | n/a | 4 | 6.06 | n/a | no | n/a | n/a | surface water >10mm | running
9.4.20 | mark n | rain | 18 | 21 | wq2 | n/a | 4 | 6.22 | n/a | no | n/a | n/a | surface water >10mm | running
10.4.20 | mark n | fine | 24 | 45 | wq1 | n/a | 4 | 6.02 | n/a | no | n/a | n/a | surface water >10mm | running
10.4.20 | mark n | fine | 24 | 45 | wq2 | n/a | 3 | 6.22 | n/a | no | n/a | n/a | surface water >10mm | running
11.6.20 | mark n | fine | 38 | 47 | wq1 | n/a | 1 | 6.23 | n/a | no | n/a | n/a | surface water >10mm | running
11.6.20 | mark n | fine | 38 | 47 | wq2 | n/a | 10 | 6.19 | n/a | no | n/a | n/a | surface water >10mm | running
19.6.20 | mark n | fine | 18 | 20 | wq1 | n/a | 1 | 6.03 | n/a | no | n/a | n/a | surface water >10mm | running
19.6.20 | mark n | fine | 18 | 20 | wq2 | n/a | 5 | 6.27 | n/a | no | n/a | n/a | surface water >10mm | running
24.6.20 | mark n | fine | 0 | 5 | gw1 | n/a | n/a | 5.92 | 426 | no | n/a | n/a | quarterly test
24.6.20 | mark n | fine | 0 | 5 | gw2 | n/a | n/a | 4.51 | 366 | no | n/a | n/a | quarterly test
24.6.20 | mark n | fine | 0 | 5 | gw3 | n/a | n/a | 4.98 | 141 | no | n/a | n/a | quarterly test
DATE | WHO | WEATHER | RAIN PAST | RAIN PAST | POINT | DISCHARGING? | TSS/TURB | PH | conduct | OIL | TREATED? | DISCHARGED?
2020-2021 |  |  | 24 HRS | 5 DAYS
25.7.20 | mark n | rain | 25 | 32.5 | wq1 | n/a | 7 | 5.9 | n/a | no | n/a | n/a | surface water >10mm | running
25.7.20 | mark n | rain | 25 | 32.5 | wq2 | n/a | 13 | 6.3 | n/a | no | n/a | n/a | surface water >10mm | running
26.7.20 | mark n | rain | 50 | 82.5 | wq1 | n/a | 7 | 5.9 | n/a | no | n/a | n/a | surface water >10mm | running
26.7.20 | mark n | rain | 50 | 82.5 | wq2 | n/a | 13 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
27.7.20 | mark n | rain | 18 | 100.5 | wq1 | n/a | 6 | 6 | n/a | no | n/a | n/a | surface water >10mm | running
27.7.20 | mark n | rain | 18 | 100.5 | wq2 | n/a | 11 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
7.8.20 | mark n | rain | 15 | 15 | wq1 | n/a | 3 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
7.8.20 | mark n | rain | 15 | 15 | wq2 | n/a | 3 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
15.8.20 | mark n | rain | 16 | 16 | wq1 | n/a | 2 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | running
15.8.20 | mark n | rain | 16 | 16 | wq2 | n/a | 3 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
26.8.20 | mark n | fine | 0 | 0 | pond e | no | 4 | 7.8 | n/a | no | no | yes
15.10.20 | mark n | fine | 0 | 0 | gw1 | n/a | n/a | 5.8 | 465 | no | n/a | n/a | quarterly test
15.10.20 | mark n | fine | 0 | 0 | gw2 | n/a | n/a | 6 | 302 | no | n/a | n/a | quarterly test
15.10.20 | mark n | fine | 0 | 0 | gw3 | n/a | n/a | 5 | 188 | no | n/a | n/a | quarterly test
19.10.20 | mark n | fine | 10.5 | 10.5 | wq1 | n/a | 9 | 6.8 | n/a | no | n/a | n/a | surface water >10mm | stagnant
19.10.20 | mark n | fine | 10.5 | 10.5 | wq2 | n/a | 11 | 5.8 | n/a | no | n/a | n/a | surface water >10mm | stagnant
26.10.20 | mark n | fine | 15 | 17 | wq1 | n/a | 4 | 6.5 | n/a | no | n/a | n/a | surface water >10mm | stagnant
26.10.20 | mark n | fine | 15 | 17 | wq2 | n/a | 15 | 5.9 | n/a | no | n/a | n/a | surface water >10mm | stagnant
28.10.20 | mark n | fine | 11 | 28 | wq1 | n/a | 3 | 6.5 | n/a | no | n/a | n/a | surface water >10mm | stagnant
28.10.20 | mark n | fine | 11 | 28 | wq2 | n/a | 5 | 6 | n/a | no | n/a | n/a | surface water >10mm | stagnant
1.11.20 | mark n | fine | 19 | 40 | wq1 | n/a | 22 | 6.4 | n/a | no | n/a | n/a | surface water >10mm | running
1.11.20 | mark n | fine | 19 | 40 | wq2 | n/a | 32 | 6.5 | n/a | no | n/a | n/a | surface water >10mm | running
1.12.20 | mark n | fine | 0 | 0 | gw1 | n/a | n/a | 5.9 | 288 | no | n/a | n/a | quarterly test
1.12.20 | mark n | fine | 0 | 0 | gw2 | n/a | n/a | 5.7 | 287 | no | n/a | n/a | quarterly test
1.12.20 | mark n | fine | 0 | 0 | gw3 | n/a | n/a | 4.8 | 340 | no | n/a | n/a | quarterly test
8.12.20 | mark n | fine | 14 | 17 | wq1 | n/a | 13 | 6.53 | n/a | no | n/a | n/a | surface water >10mm | running
8.12.20 | mark n | fine | 14 | 17 | wq2 | n/a | 12 | 6.18 | n/a | no | n/a | n/a | surface water >10mm | running
7th December 2020 Department agreed to reduce water monitoring to ground water annually and surface water once per quarter after 10mm of rain
1.2.21 | mark n | rain | 8 | 11 | gw1 | n/a | n/a | 5.7 | 176 | no | n/a | n/a | quarterly test
1.2.21 | mark n | rain | 8 | 11 | gw2 | n/a | n/a | 5.42 | 262 | no | n/a | n/a | quarterly test
1.2.21 | mark n | rain | 8 | 11 | gw3 | n/a | n/a | 4.93 | 216 | no | n/a | n/a | quarterly test
1.2.21 | mark n | fine | 8 | 11 | epl point 1 | no | 9 | 7.88 | n/a | no | no | yes
2.2.21 | mark n | rain | 30 | 38 | wq1 | n/a | 5 | 6.2 | n/a | no | n/a | n/a | surface water >10mm | running
2.2.21 | mark n | rain | 30 | 38 | wq2 | n/a | 6 | 6.18 | n/a | no | n/a | n/a | surface water >10mm | running
15.3.21 | mark n | rain | 27 | 44 | epl point 1 | no | 16 | 7.22 | n/a | no | no | yes
6.4.21 | mark n | rain | 32 | 41 | wq1 | n/a | 29 | 6.1 | n/a | no | n/a | n/a | surface water >10mm | running
6.4.21 | mark n | rain | 32 | 41 | wq2 | n/a | 28 | 6.26 | n/a | no | n/a | n/a | surface water >10mm | running
6.4.21 | mark n | rain | 32 | 41 | epl point 1 | no | 29 | 7.09 | n/a | no | no | yes
28.6.21 | mark n | fine | 0 | 10 | gw1 | n/a | n/a | 6.28 | 418 | no | n/a | n/a | quarterly test
28.6.21 | mark n | fine | 0 | 10 | gw2 | n/a | n/a | 5.39 | 232 | no | n/a | n/a | quarterly test
28.6.21 | mark n | fine | 0 | 10 | gw3 | n/a | n/a | 5.22 | 116 | no | n/a | n/a | quarterly test
28.6.21 | mark n | fine | 0 | 10 | epl point 1 | no | 27 | 8.15 | n/a | no | no | yes